Water Quality Testing

Keywords:	Hardness/Nafleet test, chloride test, pH test, Nessler cylinder, Nessleriser, ‘P’ alkalinity test, dissolved oxygen test, phosphate test, hydrazine test.

Objectives:	In Topic 4, we discussed how contaminations of boiler water can be removed to improve the efficiency of boiler usage and its lifespan. In this topic, we will discuss methods used and areas to be tested for the boiler water contaminants to detect the presence of contaminants and thereby facilitate corrective measures before irreparable damage is done to the steam plant.

5.1.1	Identify the various tests used to measure the contamination in boiler water.

5.1.2	Identify the areas to be tested for contamination in boiler water.

Reference Books:	Esso Petroleum Company Limited (1975), Feed and Boiler Water Treatment for Marine Boilers, Transportation Department.

J. D. Skelly, (1976), Water Treatment, London, The Institute of Marine Engineers.