Control of Carbon Dioxide

Steam condensate is not always pure water. Carbon dioxide and oxygen dissolved in otherwise pure water will produce a comparatively high rate of corrosion of mild steel, especially in drain lines.

The corrosive effect of carbon dioxide and can be reduced by using neutralizing amines.