Lighting Control Methods

Different control systems exist, again time-based control and optimiser parameter-based where a level of illuminance or particular use of lighting is required.

- Zones: lights are switched on corresponding to the use and layout of the lit areas, in order to avoid lighting a large area if only a small part of it needs light.

- Time control: to switch on and off automatically in each zone to a preset schedule for light use.

- Passive Infra-Red (PIR) Occupancy sensing: In areas which are occupied intermittently, occupancy sensors can be used to indicate whether or not anybody is present and switch the light on or off accordingly.

- Light level monitoring: this consists of switching or dimming artificial lighting to maintain a light level measured by a photocell.