SUSTAINABLE MATERIALS

The concept of sustainable building incorporates and integrates a variety of strategies during the design, construction and operation of building projects. The use of green building materials and products represents one important strategy in the design of a building.

Green building materials offer specific benefits to the building owner and building occupants:

- Reduced maintenance/replacement costs over the life of the building.

- Energy conservation.

- Improved occupant health and productivity.

- Lower costs associated with changing space configurations.

- Greater design flexibility.

Building and construction activities worldwide consume 3 billion tons of raw materials each year or 40 percent of total global use (Roodman and Lenssen, 1995). Using green building materials and products promotes conservation of dwindling nonrenewable resources internationally. In addition, integrating green building materials into building projects can help reduce the environmental impacts associated with the extraction, transport, processing, fabrication, installation, reuse, recycling, and disposal of these building industry source materials.

## Green building product or material.

Green building materials are composed of renewable, rather than nonrenewable resources. Green materials are environmentally responsible because impacts are considered over the life of the product (Spiegel and Meadows, 1999). Depending upon project-specific goals, an assessment of green materials may involve an evaluation of one or more of the criteria listed below.

## Green building material/product selection criteria

This information was based on Lynn Froeschle's article, "Environmental Assessment and Specification of Green Building Materials" (Adobe PDF, 1.4 MB), in the October 1999 issue of The Construction Specifier, a publication for members of the Construction Specifications Institute (CSI). Selection criteria similar to what is presented below was also used for the East End Project as identified in the Review of Construction Projects Using Sustainable Materials.

Overall material/product selection criteria:

- Resource efficiency

- Indoor air quality

- Energy efficiency

- Water conservation

- Affordability

Resource Efficiency can be accomplished by utilizing materials that meet the following criteria:

- Recycled Content: Products with identifiable recycled content, including postindustrial content with a preference for postconsumer content.

- Natural, plentiful or renewable: Materials harvested from sustainably managed sources and preferably have an independent certification (e.g., certified wood) and are certified by an independent third party.

- Resource efficient manufacturing process: Products manufactured with resource-efficient processes including reducing energy consumption, minimizing waste (recycled, recyclable and or source reduced product packaging), and reducing greenhouse gases.

- Locally available: Building materials, components, and systems found locally or regionally saving energy and resources in transportation to the project site.

- Salvaged, refurbished, or remanufactured: Includes saving a material from disposal and renovating, repairing, restoring, or generally improving the appearance, performance, quality, functionality, or value of a product.

- Reusable or recyclable: Select materials that can be easily dismantled and reused or recycled at the end of their useful life.

- Recycled or recyclable product packaging: Products enclosed in recycled content or recyclable packaging.

- Durable: Materials that are longer lasting or are comparable to conventional products with long life expectancies.