INDOOR AIR QUALITY

Indoor Air Quality (IAQ) is enhanced by utilizing materials that meet the following criteria:

- Low or non-toxic: Materials that emit few or no carcinogens, reproductive toxicants, or irritants as demonstrated by the manufacturer through appropriate testing.

- Minimal chemical emissions: Products that have minimal emissions of Volatile Organic Compounds (VOCs).  Products that also maximize resource and energy efficiency while reducing chemical emissions.

- Low-VOC assembly: Materials installed with minimal VOC-producing compounds, or no-VOC mechanical attachment methods and minimal hazards.

- Moisture resistant: Products and systems that resist moisture or inhibit the growth of biological contaminants in buildings.

- Healthfully maintained: Materials, components, and systems that require only simple, non-toxic, or low-VOC methods of cleaning.

- Systems or equipment: Products that promote healthy IAQ by identifying indoor air pollutants or enhancing the air quality.