Features of the resistive polymer sensor

- 100% solid-state construction

- Low power input

- Compact size

- Low cost

- Bulb polymer minimizes accuracy degradation resulting from contamination

- Broad humidity range (15 to 99 percent)

- Temperature range from -100 to 600C (typical)

- Fast response

- Excellent reproducibility (better than 0.5 percent RH)

- High accuracy (=± 2 percent RH, ± 1 percent RH in narrow range)