Objects contained in typical sterile trays:

\*Needles

 -three 18 ga

 -one 20 ga

 -one 22 ga

 -one 25 ga

\*Sterile containers for biopsy specimens

\*Plastic connector for test injections of contrast material

\*One manifold for the contrast test, heparin drip, or saline flush

\*Scalpel handle and no. 10 scalpel blade

\*Large number of gauze pads or topper sponges

\*Up to five 10-, 20-, or 30-mL Luer-Lok syringes for saline flush

\*Three 10-mL Luer-Lok syringes

\*Forceps for sponges

\*Six sponges for preparation of the puncture site with anesthetic

\*Three stainless steel basins

 -one for saline solution

 -one for antiseptic

 -one used as a waste basin—and one emesis basin

\*Straight and curved clamps for arterial cutdown techniques

\*Clamp to keep guidewire wrapped

List taken directly from source below:

Adler, Arlene, & Carlton, Richard (2012). *Introduction to Radiologic Science and Patient Care* (5th Ed.). St. Louis, MO: Elsevier Saunders.